Capillary Regeneration Solution

The capillary regeneration solution can quickly repair malfunctioning capillaries, restore their resolution, and extend their service life.

Used to repair capillaries that have recently exhibited broad peaks or tailing;

Repair time is no more than 3 hours;

It is recommended to perform regeneration after every 500 capillary runs to maintain the capillaries in optimal condition.

Specifications: 16/24-channel, 96-channel
Compatible with: 16-channel capillary arrays, 24-channel capillary arrays, 96-channel capillary arrays
Applicable scope: Capillaries that have recently shown broad peaks or tailing; not suitable for long-term clogged capillaries
Shelf life: 12 months
Storage conditions: Store at 2–8°C