DNA Size Standard Internal Lane Standard

The 600 LIZ size standard is a high-density size standard with fifth-dye labeling for reproducible size analysis of fragment analysis data. It improves run-to-run consistency and peak height balance. This product requires normalization on 3500 Series Genetic Analyzers and can also be used as a legacy size standard for all Applied Biosystems capillary electrophoresis systems. This size standard can be used for fragments ranging from 20 to 600 bp. The standard consists of 36 single-stranded DNA fragments labeled with LIZ dye. As a fifth-dye-labeled standard, it allows users to genotype more molecular markers in a given lane compared to four-dye systems.

Determining fragment sizes within the range of 20–600 nucleotides
The 600 LIZ size standard is used to determine the size of DNA fragments within the range of 20–600 nucleotides and provides 36 single-stranded labeled fragments: 20, 40, 60, 80, 100, 114, 120, 140, 160, 180, 200, 214, 220, 240, 250, 260, 280, 300, 314, 320, 340, 360, 380, 400, 414, 420, 440, 460, 480, 500, 514, 520, 540, 560, 580, and 600.
The 600 LIZ size standard is an ideal choice for various fragment analysis applications, such as microsatellites, fragment length polymorphisms, and relative fluorescence quantification. Each DNA fragment is labeled with a fluorophore and produces a single peak when run under denaturing conditions.

For research use only. Not for diagnostic use.