This test strip is used for rapid qualitative detection of human blood (traces). It selectively identifies human heme in samples with high reliability, detecting human heme at a concentration of 50 ng/ml. It is negative for common animal blood, human saliva, and secretions, and positive for human blood (traces).

Specifications: Sealed aluminum foil bag packaging, 1 strip/bag, 100 strips/box.

Standard: Complies with GA476-2004 requirements (Chinese Public Security Standards).