High-Concentration Buffer Solution (10×)

This product provides the required ionic concentration and stable pH for the electrophoresis process in the ABI series genetic analyzers

Buffer quality directly affects the stability of electrophoresis current and the separation efficiency of DNA fragments.

It is generally recommended to replace the buffer after every 100 sample runs.

pH range: 7.5–8.5

Specification: 25 ml

Compatible Equipment: ABI series genetic analyzers

Applications: DNA fragment analysis, sequencing, clinical testing, etc.

Shelf Life: 12 months

Storage Conditions: Store at 2–8°C