High-Purity Formamide

High-purity formamide is used for sample resuspension prior to electrophoresis injection.

Conductivity: less than 50 μS/cm;

High-purity formamide helps reduce salt concentration in samples, minimize injection competition, and ensure consistent DNA injection volume;

High-purity formamide promotes denaturation of double-stranded DNA molecules, maintaining DNA in a single-stranded state during electrophoresis;

Freeze-thaw cycles should be minimized, as frequent exposure to air may affect stability and electrophoresis results.

Specification: 25 ml
Compatible Equipment: ABI series genetic analyzers
Applications: DNA fragment analysis, sequencing, clinical testing, etc.
Shelf Life: 12 months
Storage Conditions: Store at -15 to -25°C