This test strip provides rapid qualitative detection of human semen stains and selectively identifies human prostate antigen (PSA) in samples with high reliability. It can detect PSA concentrations above 4 ng/mL in approximately 5 minutes.

One band in the observation area indicates a negative result, and two bands indicate a positive result. It is negative for normal human blood, saliva, and vaginal secretions; and positive for human semen. Sensitivity is 4 ng/mL.

Specifications: Sealed aluminum foil bag packaging, 1 strip/bag, 100 strips/box